FO Splice holder for 12x crimp splice protectors

\*\*FO Components

\*\*FO Splice Accessories

The fiber optic splice holder can be integrated in the FO splice cassette and takes twelve crimp splices.

\*\*TECHNISCHE\_DATEN

|  |  |
| --- | --- |
| Type | FO Splice holder for 12 x Crimp splice protectors |
| Dimensions | 40 x 26 x 6 mm |
| Material | Bright ABS, similar RAL 1013 |