FC PC Oval Adapter, "HD" STYLE, Zirconia Straight Split

\*\*FO Components

\*\*FO Adapters

 FC Oval Adapters feature nickel plated brass housing for corrosion resistance.

• Compact design
• NTT-FC compatibility
• High precision alignment
• Low insertion and return loss and back reflection
• Corrosion resistant body

\*\*TECHNISCHE\_DATEN

|  |  |
| --- | --- |
| Type | FC Simplex |
| Applikation | Singlemode OS2 PC, Multimode OM3 |
| Design | FC Oval "HD" |
| Built form | FC Oval |
| Material | Metall |
| Sleeve | Zirconia Straight Split |
| Shutter | -- |
| Manufacturer | tde |