SC Simplex Adapter Zirkonia Staight Split with Flange, blue

\*\*FO Components

\*\*FO Adapters

The hook performs well under high temperatures, maintaining plug retention strength.
• Compact design
• Compliance with telcordia, TIA/IEA IEC and JIS compliance
• High precision alignment
• Low insertion and return loss and back reflection

\*\*TECHNISCHE\_DATEN

|  |  |
| --- | --- |
| Type | SC Simplex |
| Application | Singlemode OS2 PC |
| Design | with flange |
| Connector style | SC Simplex |
| Color | Blue |
| Material | Plastik |
| Sleeve | Zirkonia Staight Split |
| Shutter | -- |
| Manufacturer | tde |