tSML - TP Trunk Cable Telco F/F 180° shielded 1000BaseT PUR, length: xx in m

\*\*tSML - tde Semi Modular Link

tSML is a modular developed cabling system, which consists of two core components: module and trunk cable. The system components, preterminated with connectors and tested ex works, facilitate very fast installation of both twisted pair and fiber-optic cables. Ready-made trunk cables, providing a high number of pairs or fibers, can simply be plugged together using patch panels. Up to 96x LC duplex and/or 48 x RJ45 of haven can be accommodated in such a way on 1U. At the heart of the System are MPO/MTP® and Telco connectors, with which 12 optical fibers or 24 copper pairs can be connected simultaneously. Fiber-optic and twisted pair modules can be combined on 1U within a panel without difficulty.

\*\*tSML - TP Trunk Cable Telco F/F

\*\*TECHNISCHE\_DATEN

|  |  |
| --- | --- |
| Cable | S/FTP Round Cable 24x2xAWG 27/7, Pet-Al foil around each pair, 3 layers of screened pairs (2+8+14), PUR |
| Outer Diameter | 14.5mm |
| Weight | 158 kg/km |
| bending radius without load | 8xD mm |
| bending radius with load | 4xD mm |
| Connectors | 2 x Telco 50pos. Female 180° shielded with screws  |
| Tests | Link Performance Tests, Elektronischer Test on short-circuit and Visual Final Inspection; all measured values are electronically archived |
|   | QS-Managementsystem nach ISO 9001, ISO 14001 und TL 9000 |

xx - stands for the cable length in meters (max. length is 60m)