LC Duplex Adapter Zirconia Straight Split with Flange, beige

\*\*FO Components

\*\*FO Adapters

For SC-configured environments, tde offers LC duplex adapters with SC simplex footprint, with a choice of flange or no flange type.
• Proven increased side loading performance
• Compact design
• Compliance with telcordia, ANSI, TIA/EIA and ISO compliance
• Color coding
• High precision alignment

\*\*TECHNISCHE\_DATEN

|  |  |
| --- | --- |
| Type | LC Duplex |
| Application | Multimode OM2 |
| Design | One-Piece with Flange |
| Connector style | SC Simplex |
| Color | Beige |
| Material | Plastic |
| Sleeve | Zirkonia Staight Split |
| Shutter | - |
| Manufacturer | tde |