tBL® - Cover for Breakout Panel 19"/0.5U angled

\*\*tBL® - tde Basic Link (TP)

tBL® tde Basic Link (TP) is a complete system solution for structured cabling in Cat6A for transfer rates of up to 10GbE in real time. The tBL® - cabling link corresponds to a permanent link in accordance with ISO / IEC 11801 (EN 50173). The RJ45 modules are available in the form factors  Keystone (KS) and Data Center (DC). The compact design of the 6fold RJ45 DC module allows a high packing density of up to 48 RJ45 ports on 1U. The RJ45 module is connected to the tBL® - cable termination block by simply plugging. The slim cable termination block can be easily assembled on the cable by using the tBL® - crimp tool and is suitable for preterminated cables. The modular design of individual RJ45 modules are interchangeable at any time without termination. A cost effective alternative product is the RJ45 keystone module without cable termination block in the tool-less design.

The system solution is complemented by an extensive portfolio of carrier systems. These include design-capable data outlets, floor box frames, Consolidation points, DIN rail modules and patch panels in 1/2 and 1U.

\*\*TP Patch Panels

For sealing of the angled Breakout Panel 19"/0.5U.

\*\*TECHNISCHE\_DATEN

|  |  |
| --- | --- |
| Material | stainless steel |
| Dimensions | depth: 10.5 cm (outside) / 20.5 cm (centered) |
| Mounting | through enclosed screws |
| Identification | laser-engraved at the front |
|   | QS-Managementsystem ISO 9001, ISO 14001 and TL 9000 |