tSML - Cover for Module 19"/0.5U straight

\*\*tSML - tde Semi Modular Link

tSML is a modular developed cabling system, which consists of two core components: module and trunk cable. The system components, preterminated with connectors and tested ex works, facilitate very fast installation of both twisted pair and fiber-optic cables. Ready-made trunk cables, providing a high number of pairs or fibers, can simply be plugged together using patch panels. Up to 96x LC duplex and/or 48 x RJ45 of haven can be accommodated in such a way on 1U. At the heart of the System are MPO/MTP® and Telco connectors, with which 12 optical fibers or 24 copper pairs can be connected simultaneously. Fiber-optic and twisted pair modules can be combined on 1U within a panel without difficulty.

\*\*tSML - FO/TP Breakout Module 19"/ 0.5U

For sealing of the straight Module 19"/0.5U.

\*\*TECHNISCHE\_DATEN

|  |  |
| --- | --- |
| Material | stainless steel |
| Dimensions | depth 11 cm |
| Mounting | through enclosed screws |
| Identification | laser-engraved at the front |
|   | QS-Managementsystem ISO 9001, ISO 14001 and TL 9000 |