TN-XFP-SR - MSA Compatible XFP Modules: 10GBase XFP Duplex LC, 10GBase-SR/SW 850nm (Duplex LC) [62.5/125 uM (OM1): 33 m/108 ft.] [50/125 uM (OM2): 82 m/269 ft.] [50/125 uM (OM3): 300 m/985 ft.]

\*\*Lantronix / Transition Networks

\*\*Direct Attach Cables / Active Optical Cables

A simple to install, cost-effective and interoperable solution

Often used for data center short-reach interconnects, Direct Attach, Active Copper and Active Optical Cables are an indispensable part of any network.

Terminated with transceiver-style connectors, they are designed to be used in the same ports as a typical SFP+ or QSFP transceiver, with no need for adapters or converters. Our DAC and AOC cables offer compatibility with a huge range of vendors, enabling the connectivity you need within the Top of Rack and End of Row environments.

• 10G, 25G, 40G & 100G product solutions
• Seamless interoperability with network equipment
• Multi-code options enabling different OEM vendors at each end of the cable
• 4x breakout cables, 40G QSFP+ to 4x 10G SFP and 100G QSFP28 to 4x 25G SFP28
• Fast Delivery, Custom solutions
• Compatible with Over 90 Systems
• Savings of up to 70%

\*\*Transition Networks - Optical Devices

10GBase-SR/SW 10G Fiber Channel, XFP with DMI, 850nm multimode (Duplex LC) [62.5/125 uM (OM1): 33 m/108 ft.] [50/125 uM (OM2): 82 m/269 ft.] [50/125 uM (OM3): 300 m/985 ft.] Modal dispersion: 3.9 dB

\*\*Product Description

10GBase-SR/SW 10G Fiber Channel, XFP with DMI, 850nm multimode (Duplex LC) [62.5/125 uM (OM1): 33 m/108 ft.] [50/125 uM (OM2): 82 m/269 ft.] [50/125 uM (OM3): 300 m/985 ft.] Modal dispersion: 3.9 dB

\*\*Features

• Hot-Pluggable XFP Footprint LC Optical Transceiver
• Digital Diagnostic Function
• Class 1 Laser International Safety Standard IEC-60825 Compliant
• Compatible with XFP Multi-Sourcing Agreement (MSA)
• XFP Optical Transceiver with duplex LC connector
• 10G Small Form-Factor Pluggable (XFP) MSA compatible
• INF-8077i Digital Diagnostic Function (DMI)
• Maximum Link Length of 100 km
• Single +3.3V Power Supply
• RoHS Compliant
• Compliant with IEEE 802.3ae 10GBase-SR/SW
• Compliant with 10G Fiber Channel 1200-MX-SN-I
• Low power Dissipation < 1.2 Watts

Show product on manufacturers website: https://www.lantronix.com/products/

\*\*TECHNISCHE\_DATEN

\*\*Specifications